Red Rose Transit Authority

Maintenance Facility & Yard Inspection Sheet

| Inspection Date: | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| SAFETY & HEALTH AWARENESS |  |  |  |  |
| No Smoking policy posted and followed throughout facility |  |  |  |  |
| Required State and Federal postings where employees have access |  |  |  |  |
| Are all employees supplied PPE |  |  |  |  |
| Is the OSHA 300 Log up-to-date and prior year summary posted (Feb thru April)? |  |  |  |  |
| FIRST AID |  |  |  |  |
| First aid kit properly located, stocked and accessible |  |  |  |  |
| First aid kit inspected monthly |  |  |  |  |
| OSHA acceptable eye wash (15 minutes continuous flush) |  |  |  |  |
| Eye wash station is clean and accessible & within 100 feet of any hazardous material handling [especially battery charging/storage area] |  |  |  |  |
| EMERGENCY PRECAUTIONS |  |  |  |  |
| Emergency evacuation diagram posted |  |  |  |  |
| Written emergency evacuation plan in place |  |  |  |  |
| Hazardous Materials Inventory Posted in appropriate location |  |  |  |  |
| MSDS’s available for all chemicals at facility |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |

| Inspection Date: | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| GENERAL HOUSEKEEPING |  |  |  |  |
| Work areas are free of debris, tools, parts and equipment not in use |  |  |  |  |
| Floors and stairways free of liquids and tripping hazards |  |  |  |  |
| Shop, storage and office area layout and appearance are reasonably neat and orderly |  |  |  |  |
| WALKING AND WORKING SURFACES |  |  |  |  |
| Floors, aisles and walkways clear of obstruction |  |  |  |  |
| Aisles and walkways visibly marked |  |  |  |  |
| Handrail present on stairways with 4 or more steps |  |  |  |  |
| Stairways are at least 22 inches wide |  |  |  |  |
| Slip resistant surfaces provided on stairs |  |  |  |  |
| Floor openings and holes are protected |  |  |  |  |
| Overhead storage weight ratings are known |  |  |  |  |
| Overhead storage are guarded with a “kick plate” at floor level and railings at edges |  |  |  |  |
| Employees use 3 points of contact when climbing in and out of vehicles |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |

| Inspection Date: | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| EXITS |  |  |  |  |
| Exit doors are obstruction free, accessible, and easily opened to the outside |  |  |  |  |
| Exit signs at all exits and illuminated by a reliable light source |  |  |  |  |
| Non-apparent exits have directions to exits posted |  |  |  |  |
| Non-exits along exit routes marked “Not an Exit” |  |  |  |  |
| Exit doors swing in the direction of travel to the outside |  |  |  |  |
| Exit doors can be opened without a key or special knowledge when building occupied |  |  |  |  |
| Sufficient number of exits |  |  |  |  |
| FIRE PROTECTION |  |  |  |  |
| Fire extinguishers mounted in accessible location & clearly designated with sign |  |  |  |  |
| Extinguishers inspected and/or recharged; inspection tags present |  |  |  |  |
| Smoke alarms operative |  |  |  |  |
| Emergency lighting operative |  |  |  |  |
| Sprinkler system tested annually |  |  |  |  |
| Sprinkler heads meet clearance standards (at least 18” inches) |  |  |  |  |
| Fire hoses inspected annually and in good condition |  |  |  |  |
| Fire alarm system operational |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |

| Inspection Date: | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| FLAMMABLE & COMBUSTIBLE MATERIAL |  |  |  |  |
| Flammables, combustibles, and/or chemicals stored in fire resistant cabinets away from heat source |  |  |  |  |
| Oily rags and other combustibles stored in covered, approved containers |  |  |  |  |
| Drums of flammable liquids grounded to containers during dispensing |  |  |  |  |
| Drums of flammable/combustible liquids stored on leak/spill containment pallet |  |  |  |  |
| Flammable / combustible material containers stored in proper locations with content / hazard labels |  |  |  |  |
| No “OPEN TOP” containers used for flammable/combustible materials |  |  |  |  |
| All containers in shop labeled correctly, including bulk tanks |  |  |  |  |
| ELECTRICAL HAZARD PREVENTION |  |  |  |  |
| Electrical appliances, equipment & tools grounded [3-prong] |  |  |  |  |
| Electrical cords free of splices, damaged insulation, or excessive tape |  |  |  |  |
| Electrical tools & fixtures used in wet, damp or hazardous areas (pits, fueling) are approved for hazardous atmosphere |  |  |  |  |
| Proper extension cords with grounding conductor (3 prong) |  |  |  |  |
| 3ft. clearance in front of electrical panels and circuit breakers |  |  |  |  |
| Panel covers for greater than 50 volts permanently marked “High Voltage” |  |  |  |  |
| Disconnecting switches & circuit breakers labeled |  |  |  |  |
| Circuit breakers indicate “on” or “off” position |  |  |  |  |
| Unused electrical panel breaker openings enclosed with appropriate covers |  |  |  |  |
| Light Switches, receptacles & junction boxes provided with covers & plates |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |
| Inspection Date: | Yes | No | N/A | Comments |
| WELDING (HOT WORK) |  |  |  |  |
| Only trained employees are permitted to use welding, cutting or brazing equipment |  |  |  |  |
| Hot work is performed away from combustible material and / or approved welding screen used |  |  |  |  |
| Pressure regulators are used only for the gas and pressures for which they are intended |  |  |  |  |
| Hot work done in designated areas with fire extinguisher in immediate reach OR fire extinguisher attached to portable welding/torch carts |  |  |  |  |
| COMPRESSED GASES |  |  |  |  |
| Cylinders are legibly marked to identify contents |  |  |  |  |
| Cylinders stored with valve caps on, caps closed, and away from heat sources |  |  |  |  |
| Cylinders are secured to prevent them from falling or rolling |  |  |  |  |
| Oxygen and acetylene cylinders separated by 20 ft. |  |  |  |  |
| Empty cylinders marked “empty” with valves closed and caps on |  |  |  |  |
| Cylinder lines (torch) have been bled , no pressure reading |  |  |  |  |
| Spark arresters properly installed in each torch set |  |  |  |  |
| BATTERY CHARGING |  |  |  |  |
| Battery charging installations are located in areas designated for that purpose |  |  |  |  |
| Batteries are charged in a properly ventilated room |  |  |  |  |
| Used batteries are properly stored on site (off ground, on racks/shelves or pallet) |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |

| Inspection Date: | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| VEHICLE MAINTENANCE |  |  |  |  |
| At least one non-drive wheel is chocked during vehicle maintenance |  |  |  |  |
| Mobile lifts used properly, capacity labeled and in good condition |  |  |  |  |
| Stationary lifts used properly, capacity labeled and in good condition |  |  |  |  |
| Jack stands used properly, capacity labeled and are in good condition |  |  |  |  |
| Lockout / Tag out procedures are known and being followed |  |  |  |  |
| Proper tools are being used for jobs |  |  |  |  |
| VEHICLE SERVICE PITS |  |  |  |  |
| Approved perimeter fall protection in place |  |  |  |  |
| Ventilation system operational, if so equipped |  |  |  |  |
| Slip resistant surface provided on stairs |  |  |  |  |
| Floors and stairways free of liquids, grease, debris and tripping hazards |  |  |  |  |
| MATERIALS HANDLING / STORAGE |  |  |  |  |
| Appropriate materials & equipment (hoists, forklifts) to handle heavy objects |  |  |  |  |
| Approved device for removing wheels from axles (wheel dollies) is available and used |  |  |  |  |
| Safe operating procedures are posted in the tire maintenance area |  |  |  |  |
| Tire cage present for off-vehicle inflation; is free of cracks at welds, structural damage, and cracked, broken, bent or corroded components |  |  |  |  |
| Remote-mounted pressure regulator, gauge, air hose with quick couple disconnect at the regulator end, and a clip-on air chuck used for tire inflation |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |
| Inspection Date: | Yes | No | N/A | Comments |
| WORK ENVIRONMENT |  |  |  |  |
| Work areas are adequately illuminated, explosion proof fixtures where required |  |  |  |  |
| Noise levels are acceptable throughout the shop |  |  |  |  |
| Paint booth ventilation system operational |  |  |  |  |
| Proper ventilation system is provided and used when vehicles are running in the shop |  |  |  |  |
| Carbon Monoxide monitors if gasoline engines in use |  |  |  |  |
| “No Smoking” signs posted |  |  |  |  |
| PERSONAL PROTECTIVE EQUIPMENT (PPE) |  |  |  |  |
| Employees are wearing PPE as required [eye, foot, hand] |  |  |  |  |
| Full face shield available near grinder |  |  |  |  |
| PPE is in good working condition |  |  |  |  |
| PPE available at shop entrance |  |  |  |  |
| FACILITY EQUIPMENT |  |  |  |  |
| Boilers & pressure vessels inspected & certified |  |  |  |  |
| Air pressure is regulated to a max of 30 psi at the point of use for cleaning purposes |  |  |  |  |
| Pressurized grease guns restricted to 65 psi |  |  |  |  |
| Compressors & ventilation systems on documented PM schedule |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |

| Inspection Date: | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| LOCATION SAFETY |  |  |  |  |
| Adequate lighting for bus parking area |  |  |  |  |
| Adequate lighting for personal vehicle parking |  |  |  |  |
| Location is properly graded and free of potholes and ruts |  |  |  |  |
| Speed limit signs at entrance and throughout yard as needed |  |  |  |  |
| Speed bumps properly marked / painted |  |  |  |  |
| Signs indicating required use of PPE at specific area of use |  |  |  |  |
| ENVIRONMENTAL |  |  |  |  |
| Are all required environmental plans available and in compliance with EPA Regulations? (SARA Tier II, SWP3 & SPCC Plans) |  |  |  |  |
| Are copies of all hazardous waste activities manifest properly filed with Sates DES Agencies, with copies retained on-site? |  |  |  |  |
| Are routine (monthly) environmental inspections being performed? Is documentation present? |  |  |  |  |
| Are all maintenance employees and vehicle fuelers properly trained on spill prevention and clean-up procedures? [Training must be documented] |  |  |  |  |
| Are spill control materials available and accessible throughout the maintenance area? |  |  |  |  |
| Are all new hire employees orientated on environmental procedures & compliance? |  |  |  |  |
| Are all above ground storage tanks properly labeled and protected from impact? |  |  |  |  |
| Are all diesel fuel dispensers properly labeled and protected from impact? |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |

| Inspection Date: | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| FUEL ISLAND |  |  |  |  |
| No Smoking & Engine Off signs posted |  |  |  |  |
| Keys removed while fueling, clear signage |  |  |  |  |
| Fire extinguishers at island near pumps |  |  |  |  |
| Emergency shut-off switch clearly marked |  |  |  |  |
| Safety glasses and gloves available for fuelers |  |  |  |  |
| Pump dispensing nozzle(s) has NO trigger locking mechanism |  |  |  |  |
| Clearly marked, stocked and accessible spill control station at every fuel island |  |  |  |  |
| All fuel attendants and drivers are trained on fuel island spill prevention and cleanup |  |  |  |  |
| Detail Corrective Actions taken for any deficiencies noted above: |  |

Inspection Conducted By:	___________________________________________________

Signature:	_______________________________________________________________

Additional Comments: